## Lab standard configuration
Standard Lab Bench Items: Category | Part type/name | Part number/brand | Required Number | Quanity @ 01/03/2022 | Quanity @ 02/05/2025 | # Available | Spring Check @ 02/10/2025 TA remarks | Initial Lab Cleanup Notes @ 02/05/2025 | TA remarks | Photo
Oscilloscope | Oscilloscope | OWON PDS5022S | 1 | 1 | 0 | 0 |  | Replaced with ATTEN ADS1062CAL
| Digital Oscilloscope | ATTEN ADS1062CAL | 1 | 0 | 1 | 1 |  | Benchtop |  | https://drive.google.com/file/d/1h_6do2NPNdYqQ-fSvqXXxgDO1mk8Lpka/view?usp=sharing
| Scope Probes Kit, OEM, 2 probes | PA360 60MHz | 2 | 2 | 2 | 2 |  | Probe and connectors in black bin and black pouch on top of DC power supply |  | https://drive.google.com/file/d/1_qb_2gPrnwbC5Bf4IKUogjcOjP2lhfJ5/view?usp=sharing
| HanTek Oscilloscope Probe Kit, 1 probe | PP-200 or PP-80 | 1 | 1 | 1 | 1 | missing red ones | Probe and connectors in black bin and black pouch on top of DC power supply |  | https://drive.google.com/file/d/1_qb_2gPrnwbC5Bf4IKUogjcOjP2lhfJ5/view?usp=sharing
| USB TypeA-to-TypeB or TypeA-to-TypeA Cable for Scope, 2.5' | PC044 | 1 | 1 | 0 | 0 |  | Cables are all mixed and unidentifiable, aggregated to Cables section
| Pomona Minigrabber cable | 5187-C-24 | 1 | 1 | 0 | 0 |  | Cables are all mixed and unidentifiable, aggregated to Cables section
| Coax to split alligator cable | Pomona BNC 3788 | 1 | 1 | 0 | 0 |  | Cables are all mixed and unidentifiable, aggregated to Cables section
Other benchtop devices | Signal Generator | ATTEN ATF20B | 1 | 1 | 1 | 1 |  | Benchtop |  | https://drive.google.com/file/d/1AF5YROVXzNkFM4SEEbOQMuS_jldZLsEK/view?usp=sharing
| DC Power Supply | MASTECH HY3005F-3 | 1 | 1 | 1 | 1 |  | Benchtop |  | https://drive.google.com/file/d/1h_6do2NPNdYqQ-fSvqXXxgDO1mk8Lpka/view?usp=sharing
Voltmeters | Fluke Multimeter with black & red test leads | Fluke 115 | 1 | 1 | 0 | 0 | Missing | Missing
| Fluke Multimeter Case | Fluke C90 | 1 | 1 | 0 | 0 | Missing | Missing
| Banana to Alligator Test Lead Set (1 red, 1 black in each set) | Elenco TL-5 | 2 | 2 | 0 | 0 |  | Missing
| Banana to Minigrabber Set, 36" (1 red, 1 black in each set) | Elenco TL-12 | 2 | 2 | 0 | 0 |  | Missing
| Banana to Large Alligator Test Lead Set | Elenco TL 16 (X000B31HJF) | 1 | 1 | 0 | 0 |  | Missing
| Jumper Wire Kit 140 Pieces | Jameco / 2150467 | 1 | 1 | 1 | 1 |  | Only around 20 wires remaining, right table black bins |  | https://drive.google.com/file/d/11i8wyU7AxyeMUy-3_R68pWIYUyzkoY_G/view?usp=sharing
| Test Alligator leads, 20" (10 cables in a set) | SE TL10 | 1 | 1 | 0 | 0 |  | Missing
| Electronic Test Lead Kit | Extech TL809 | 1 | 1 | 0 | 0 |  | Missing
| Pen-sized voltage tester | AN-100 | 1 | 1 | 0 | 0 |  | Missing
Anti-Static & Grounding | Anti-Static Mat | ACL Staticide 8285RBM2448 (Newark# 3K9305) | 1 | 1 | 2 | 2 |  | On table |  | https://drive.google.com/file/d/1KUD2KdxkkxDhX-Os84j7ZRFL9waJSAjI/view?usp=sharing
| Cleaning solution | ACL Staticide | 2 | 2 | 1 | 1 |  | Consumed one, on left table |  | https://drive.google.com/file/d/1gky3mWrB3p7O7hsucbn1De9H1_uftqFM/view?usp=sharing
| Common Point Ground Cord | Duratool MC23795 | 2 | 2 | 2 | 2 |  | On table |  | https://drive.google.com/file/d/1A1gppkbM4uW-pZszJwnD795Qqbb57GVz/view?usp=sharing
| Static-Control Wrist Strap Set | Duratool MC23780 | 4 | 4 | 4 | 4 |  | On table |  | https://drive.google.com/file/d/1pn9KhLWxvrDX-fPi0qtHbIiXvHjerplG/view?usp=sharing
| Static-Control Wrist Strap Set Alligator Clips | Duratool MC23780 | 4 | 4 | 0 | 0 |  | Missing
Lighting | Bench lamp | NuLine LTS-122M | 2 | 2 | 2 | 2 |  | Benchtop |  | https://drive.google.com/file/d/1dw3yKQTCgxNSZ1M1xnpWrsox5Kpn55tr/view?usp=sharing
| Illuminated Multipower Head Magnifier | MH1047L | 1 | 1 | 1 | 1 |  | Right table blue bin |  | https://drive.google.com/file/d/1ZOQVy1K700NbgRVWRwrCK2Tg3Q9QvnAo/view?usp=sharing
| Mini Maglite Flashlight | Maglite M2A016 | 1 | 1 | 1 | 1 |  | Left table red bin, inside black pouch |  | https://drive.google.com/file/d/158f9UKYWvFuH09FKWF-Vi2gCVXFjcW43/view?usp=sharing
Electronics tools | Black wire Stripper/Crimp combo tool | APOLLO (from DT1241 set) | 1 | 1 | 0 | 0 |  | Missing
| Small wire stripper, yellow handles | Ideal T-Stripper 45-121 | 1 | 1 | 0 | 0 |  | Missing
| Heat gun, 750-800 deg. | Weller 6966C | 1 | 1 | 1 | 1 |  | Right table blue bin |  | https://drive.google.com/file/d/1BUZd1DxVKrIScde5h1tsc1p6BjHo4zgN/view?usp=sharing
Holding | Helping hand magnifier | Stalwart 75-MG8949 Hawk | 1 | 1 | 1 | 1 |  | On table, missing mirror and tools |  | https://drive.google.com/file/d/1RxpvYVUEZptgq6DVJpmLUPuojpa5hYX_/view?usp=sharing
| Multi-purpose Work Center | PanaVise 350 | 1 | 1 | 1 | 1 |  | On table |  | https://drive.google.com/file/d/1-_d8Uitu4aVnlYyTMmblhNZt-p96WhO4/view?usp=sharing
| Standard Panavise | PanaVise 301 | 1 | 1 | 1 | 1 |  | On table |  | https://drive.google.com/file/d/1M7WS7Oqm0RBEmEJUAmsySqvhQKyDV1J8/view?usp=sharing
| Panavise Bench Clamp Base Mount (for PanaVise 301) | Panavise 311 | 1 | 1 | 1 | 1 |  | On table |  | https://drive.google.com/file/d/1mZ-A5-FFqdznPMjKLA68yplv2on5ZWVU/view?usp=sharing
| Tweezers set, 5 pieces | Aven 18480EZ E-Z Pik | 1 | 1 | 2 | 2 |  | Autovalet toolbox top drawer, 5 pieces, missing 1 piece |  | https://drive.google.com/file/d/1XwA09GeALWmIGKYYBEOvuENWWn2ioxoE/view?usp=sharing
| Xuron Tweezer pliers w/ Serrated Jaws | 450S | 1 | 1 | 0 | 0 |  | Missing
| Black-handle pliers set, 6 pieces | Craftsman 9-45408 | 1 | 1 | 0 | 0 |  | Missing
| Long Needle Nose Pliers, 5-5/8" | Klein D335-5-1/2C | 1 | 1 | 0 | 0 |  | Missing
| Vise Grip | ViseGrip 5-10WR | 1 | 1 | 0 | 0 |  | Missing
| Craftsman Pickup-tool with light | Craftsman UM-DN1O-W84Q | 1 | 1 | 0 | 0 |  | Missing
| Craftsman miniature magnetic pickup tool | Craftsman 9-47095 | 1 | 1 | 0 | 0 |  | Missing
| Wolfcraft spring-clamp | Wolfcraft 3454 | 1 | 1 | 1 | 1 |  | Autovalet toolbox 3rd drawer |  | https://drive.google.com/file/d/1vTnRAPHz4h8Oezgp5-Zj-E23XwheGpSP/view?usp=sharing
| Quick-Grip 1-1/2" Handi-Clamps | Irwin 59100CD | 1 | 1 | 1 | 1 |  | Left benchtop |  | https://drive.google.com/file/d/1ZipcfTxFWCJgKfxEKOUPYOXwc1o6CB2y/view?usp=sharing
| Quick-Grip 6" Bar Clamp | Irwin 546 | 1 | 1 | 0 | 0 |  | Missing
| Quick-Grip 12" Bar Clamp | Irwin 5412 | 1 | 1 | 1 | 1 |  | Left benchtop |  | https://drive.google.com/file/d/1vO87Xah05WPYnRh6eeSXsg9fhX9Zwyfc/view?usp=sharing
| Spring-clamp | Unknown | 0 | 0 | 2 | 2 |  | Autovalet toolbox 3rd drawer |  | https://drive.google.com/file/d/1d4S2F7q66a6-4Mx2nozL0T7dxv1EqkuH/view?usp=sharing
Adhering (tape, ties, solder) | Electrical tape | 3M Super 88 | 1 | 0 | 0 | 0 | Consumed | Missing
| PolyTemp HD (or XHD) PTFE Tape | PolyTemp 46150 | 1 | 1 | 0 | 0 |  | Missing
| Set of zip ties | AR-ACTPAC-400-2456 | 1 | 1 | 1 | 1 |  | Left benchtop, almost empty |  | https://drive.google.com/file/d/1fZel3wvCcgKF15bYsfJclq0OQE5vtQrW/view?usp=sharing
| Weller Soldering Station | WESD51 | 1 | 1 | 0 | 0 |  | Missing
| Solder, 60/40, 0.062" | Alpha Fry 31604 | 1 | 1 | 0 | 0 |  | Missing
| Hakko Tip Cleaner | 599B-02 | 1 | 1 | 0 | 0 |  | Missing
| 5pc solder tip set | ShineNow | 1 | 1 | 0 | 0 |  | Missing
| Cartridge Removal Pad | Thermaltronics RMP-1 | 1 | 1 | 0 | 0 |  | Missing
| Desoldering Pump | AVEN 17535 (though it is marked ZD-106) or Edsyn US340 | 1 | 1 | 0 | 0 |  | Missing
| Desoldering Braid | Aven 17542 | 1 | 1 | 0 | 0 |  | Missing
Tightening (screwdrivers & wrenches) | Cordless electric screwdriver | Milwaukee M4 2101-20 | 1 | 1 | 2 | 2 |  | Right table blue bin |  | https://drive.google.com/file/d/1HewqhF-5_7peX7SF3PLWxvL7Xx3GToNV/view?usp=sharing
| Electric screwdriver battery | Milwaukee 48-11-2001 | 1 | 1 | 3 | 3 |  | Right table blue bin, updated part number (was incorrect) |  | https://drive.google.com/file/d/1HewqhF-5_7peX7SF3PLWxvL7Xx3GToNV/view?usp=sharing
| Electric screwdriver battery charger | Milwaukee 48-59-2001 | 1 | 1 | 1 | 1 |  | Right table blue bin, updated part number (was incorrect) |  | https://drive.google.com/file/d/1HewqhF-5_7peX7SF3PLWxvL7Xx3GToNV/view?usp=sharing
| Electric screwdriver bits set, 5 pieces (or 10 pieces) | Black & Decker 71-081 | 1 | 1 | 0 | 0 |  | Screwdrivers are all mixed and unidentifiable, aggregated to Screwdrivers section
| Screwdriver set, 6 pieces | Tekton 2742 | 1 | 1 | 0 | 0 |  | Screwdrivers are all mixed and unidentifiable, aggregated to Screwdrivers section
| Precision Screwdriver sets, 6 pieces each | Stanley 66039 | 2 | 2 | 0 | 0 |  | Screwdrivers are all mixed and unidentifiable, aggregated to Screwdrivers section
| Socket screwdriver | Stanley 69-189 | 1 | 1 | 0 | 0 |  | Screwdrivers are all mixed and unidentifiable, aggregated to Screwdrivers section
| Socket screwdriver bit sets | Apollo (from DT1241 set) | 4 | 3 | 0 | 0 |  | Screwdrivers are all mixed and unidentifiable, aggregated to Screwdrivers section
| Socket screwdriver drill adapter | Irwin Tools 357030 | 1 | 1 | 0 | 0 |  | Screwdrivers are all mixed and unidentifiable, aggregated to Screwdrivers section
| Wiha premium tools screwdriver set, 8 pieces, green bag | Wiha 26199 | 1 | 1 | 1 | 1 |  | Autovalet toolbox 2nd drawer, inside green bag, 5 pieces, missing 3 pieces |  | https://drive.google.com/file/d/1QL411qSjGz69auD9f7euhyJsKvE_p9yS/view?usp=sharing
| Screwdrivers | Various | 0 | 0 | 17 | 17 |  | Autovalet toolbox 3rd drawer |  | https://drive.google.com/file/d/168cXJYbLrWyDDrcpCoNO5uj7ZsaEDrvL/view?usp=sharing
| Screwdriver heads | Various | 0 | 0 | 4 | 4 |  | Autovalet toolbox 3rd drawer, missing some heads |  | https://drive.google.com/file/d/1Ktu_YFXegHpjDnqv8VkfM4V5ogPNN_qR/view?usp=sharing
| Large allen wrench set - American, 13 pieces (36991) | WIHA Professional Quality Hex Combo Pack 36995 | 1 | 1 | 2 | 2 |  | Autovalet toolbox 4th drawer, missing some pieces |  | https://drive.google.com/file/d/1WH_7ix-ypeuPY9hDx4lsq92Xo_ASLodx/view?usp=sharing
| Large allen wrench set - Metric, 9 pieces (369990) | Unknown | 1 | 1 | 0 | 0 |  | Missing
| Small allen wrench set, American, 8 pieces | Wiha 35393 | 1 | 1 | 1 | 1 |  | Autovalet toolbox 4th drawer |  | https://drive.google.com/file/d/1p0sYmjYv0wFR79_hrV-fsr7n_QPAUBEc/view?usp=sharing
| Small allen wrench set, metric, 8 pieces | Wiha 35392 | 1 | 1 | 0 | 0 |  | Missing
| Black-handle wrench set, 3 pieces | Gearwrench 82116 (7 pcs.) | 1 | 1 | 0 | 0 |  | Missing
| Combination wrench Set, American, 5 pieces | Tekton 1910 (9 pcs.) | 1 | 1 | 0 | 0 |  | Missing
| Combination wrench Set, Metric, 5 pieces | Tekton 1911 (9 pcs.) | 1 | 1 | 0 | 0 |  | Missing
| Socket wrench set | Stanley 89-199 | 1 | 1 | 0 | 0 |  | Missing
| Hand ratchet tool set | SK40970 | 0 | 0 | 1 | 1 |  | Autovalet toolbox top drawer, 2 ratchets with approx 30 nuts |  | https://drive.google.com/file/d/1C4EEd6xRYBdcEajfGA5tcwCcsZwQ2AOH/view?usp=sharing
Drilling / Cutting / Abrading | Set of drill bits | DeWalt DW1163; 13 pcs. | 1 | 1 | 1 | 1 |  | Autovalet toolbox 2nd drawer, 13 pieces |  | https://drive.google.com/file/d/1Xfk_ndG1CZ2Nuvtb9AvsNOHXWdCsA-yB/view?usp=sharing
| Red boxcutter | Snap-On 870521 | 1 | 1 | 2 | 2 |  | Autovalet toolbox 2nd drawer |  | https://drive.google.com/file/d/1RepOTNkxVQxoGSAme4TQTeeOY5TcODEx/view?usp=sharing
| Retractable pen knife | X-Acto X3295 X-Calibre | 1 | 1 | 0 | 0 |  | Missing
| Scissors | Fiskars 01-004253J | 1 | 1 | 0 | 0 |  | Missing
| Xuron Micro Shear Flush Cutter | Xuron 410 | 1 | 1 | 0 | 0 |  | Missing
| Hand saw | DeWalt DWHT20547L | 1 | 1 | 1 | 1 |  | Autovalet toolbox 2nd drawer, 1 saw and 5 blades |  | https://drive.google.com/file/d/1H6hFVtES5YSzPe5BIHXjm0qLInBs4yCF/view?usp=sharing
| Hand saw blades set | Starrett KBS1232-2 | 1 | 1 | 0 | 0 |  | Missing
| File set, 12 pieces, blue bag | SE 731NF; Needle Files | 1 | 1 | 1 | 1 |  | Autovalet toolbox 2nd drawer, blue bag |  | https://drive.google.com/file/d/1-kLtQNTSNoZrzhGS14QyBfDFQ7_0jDVm/view?usp=sharing
| Wire cutters | Various | 0 | 0 | 18 | 18 |  | Autovalet toolbox 4th drawer |  | https://drive.google.com/file/d/13E5FtUGJy74Lwaz6peL_-pGYBmuhXuWB/view?usp=sharing
| Wire Brush set, 3 pieces | W1148 or Roughneck | 1 | 1 | 2 | 2 |  | 2 remaining, Autovalet toolbox 2nd drawer |  | https://drive.google.com/file/d/1LVwMajsi1pA1D-PIl1P9ri_U7LQ-0VnV/view?usp=sharing
Measuring | General Marking Rule | UPC 32113, No. 641 or INCRA RULES 39091 | 1 | 1 | 0 | 0 |  | Missing
| Measuring tape; 25 ft. | Stanley 33-525 | 1 | 1 | 0 | 0 |  | Missing
| 8" digital Calipers, Carrera Precision | Carrera CP8808-T | 1 | 1 | 0 | 0 |  | Missing
Compute | Udoo Quad microcontroller | Udoo Quad 1485-1001-ND | 0 | 0 | 2 | 2 |  | Right table blue bin, inside silver pouch |  | https://drive.google.com/file/d/1zsBpshQ3oytocgESwaFibjCdZ2Rt_XOb/view?usp=sharing
| Arduino UNO microcontroller | Arduino SKU A000066 | 0 | 0 | 1 | 1 |  | Right table blue bin, inside silver pouch |  | https://drive.google.com/file/d/15aE5CNZSWWXCQAoFJNwcVvoT7pA7_sRZ/view?usp=sharing
| Radar sensor evaluation module | Texas Instrument AWR1642BOOST | 0 | 0 | 1 | 1 |  | Right table blue bin, inside silver pouch |  | https://drive.google.com/file/d/1Tk4nFYNgEUYWxq6IJ0Ud_u3i10hiFEqx/view?usp=sharing
| Misc. microcontroller components | Various | 0 | 0 | 1 | 1 |  | Right table black bins |  | https://drive.google.com/file/d/1f8BaNh3o2TNWq7coVioap_44xoqByCCU/view?usp=sharing
| PCB Components | Various | 0 | 0 | 1 | 1 |  | Left benchtop red bin, approx. 20 pouches |  | https://drive.google.com/file/d/1o8ayFwPdks8Y5PM1tDjTcyD2UPvdD7tv/view?usp=sharing
Sensors | Monochrome Camera | CM3-U3-13S2C-CS | 0 | 0 | 1 | 1 |  | Right table black bins |  | https://drive.google.com/file/d/1AsJDC6AZayN_wu0vEoH6Hx0UEvzlHLGE/view?usp=sharing
| Digital Laser Photo Tachometer | NEIKO 20713A | 0 | 0 | 1 | 1 |  | Left table red bin, inside blue pouch |  | https://drive.google.com/file/d/1JYf3UlzqR9YgxdZPYhmoVqnkzeRrsyqu/view?usp=sharing
Motors | NEMA 23 Stepper Motor | OpenBuilds MT-2315HS300AW | 0 | 0 | 1 | 1 |  | Left table wood box |  | https://drive.google.com/file/d/1plodudOI1JjoDb2tDIduDlJ7xA7J02bu/view?usp=sharing
| Geared Stepper Motor | 23HS22-2804S-PG15 | 0 | 0 | 6 | 6 |  | Left table wood box |  | https://drive.google.com/file/d/1USj6cr95cfqSGrevNJWUnL1EU0qX95o6/view?usp=sharing
Miscellaneous | Hammer | Craftsman 9-38045; 16 oz. hammer | 1 | 1 | 0 | 0 |  | Missing
| Craftsman Specialty Tool set, 5 pieces | Craftsman 4717 | 1 | 1 | 2 | 2 |  | Autovalet toolbox top drawer, some additional tools inserted into pouch |  | https://drive.google.com/file/d/1_Du__yLKuz1wkm-6QYspRQk5BmlHvBlB/view?usp=sharing
| Pressure gauge | JACO Superior | 1 | 1 | 0 | 0 |  | Missing
| Safety glasses | DeWalt DPG55-11C | 4 | 4 | 4 | 4 |  | Left table red bin |  | https://drive.google.com/file/d/1p30bw8N7R1VzjcobpmNmppwf77LF7iQ2/view?usp=sharing
| First aid for splinters | Miracle Point MPK-12 | 1 | 1 | 0 | 0 |  | Missing
| Empty plastic bin, long | Akro-Mills Hang/Stack Bin, 10-7/8 x 4-1/8 x 4, Blck | 1 | 1 | 1 | 1 |  | Benchtop, empty |  | https://drive.google.com/file/d/1zVWtRP5djNR-zrYcOtNcRBbHWPBsOt2t/view?usp=sharing
| Empty stackable plastic bin, medium | Akro-Mils Hang/Stack Bin, 7-3/8 x 4-1/8 x 3, Black | 8 | 8 | 12 | 12 | Have 3 extra | Benchtop, 5 empty |  | https://drive.google.com/file/d/1zoKSbB5DUHxV5n8GV0cjmeFDbvM3rH0Y/view?usp=sharing
| Empty stackable plastic bin, small | Akro-Mills Hang/Stack Bin, 5-3/8 x 4-1/8 x 3, Black | 3 | 3 | 4 | 4 |  | Benchtop, 2 empty |  | https://drive.google.com/file/d/1FXT0gK2mpAGt6tZN-SpGSbife-n6Ecah/view?usp=sharing
| Project box | Grainger 5MU44 | 1 | 1 | 1 | 0 |  | Currently in use by 2024 Team I
| Documentation | Various | 1 | 1 | 1 | 1 |  | Right table blue bin |  | https://drive.google.com/file/d/199Ayqqa3gc5qULhx1w71GI0Pix7jQA5y/view?usp=sharing
| Misc. nails/pins | Unknown | 1 | 1 | 3 | 3 |  | Autovalet toolbox top drawer |  | https://drive.google.com/file/d/1jCuQC1kn3bDS2UVmxWAA5MWdSvWWewxK/view?usp=sharing
| Solder Fume Extractor | JJ Tools 493 | 1 | 1 | 1 | 1 |  | On table |  | https://drive.google.com/file/d/10RhkygiGXicV10eavObKBsfUUhS6Un4G/view?usp=sharing
| Waste basket | Rubbermaid / FG295500BLA | 1 | 1 | 0 | 0 |  | Now at Team J workbench
| Broom / dust pan | Libman 10" / 1187 | 1 | 1 | 0 | 0 |  | Now at Team J workbench
| Apollo Precision Tools 297 Piece Mechanics Tool Kit in Three Drawer Steel Tool Box | Apollo DT6803 | 1 | 1 | 1 | 1 |  | Right benchtop |  | https://drive.google.com/file/d/1zg16-hYfl1wjcWte3R3Fz_85l0xTBD4d/view?usp=sharing
| Rolling Lab Chair | KI Strive Task Chair (Black Chair & Black Legs; no padding; hard-floor coasters) | 4 | 4 | 2 | 2 |  | On floor. Other teams took 2 chairs since we seldom use the MRSD Lab |  | https://drive.google.com/file/d/12Nn_bZkWv2OmvHot3KgbKkR7LyYqQZjW/view?usp=sharing
| Wireless USB adaptor | TP-Link AC1300 | 0 | 0 | 2 | 2 |  | Right table blue bin |  | https://drive.google.com/file/d/1kJdWp3wWfZCzGUUnc-BQ2WYviaKMN9tP/view?usp=sharing
| Li-PO battery | Zippy Compact 400 Series 3300 | 0 | 0 | 2 | 2 |  | Right table blue bin, inside LIPO Guard pouch |  | https://drive.google.com/file/d/1IzqiuO4riVU2xyG39IaOnKHvmMCF4x_x/view?usp=sharing
| AWG wire spool | Unknown | 0 | 0 | 2 | 2 |  | Left table yellow bin |  | https://drive.google.com/file/d/1Rfi0uKz_0IrelaDGprSkLUjj-LRfmE2-/view?usp=sharing
| Cables | Unknown | 0 | 0 | 4 | 4 |  | Left table red bin |  | https://drive.google.com/file/d/16QBJB7ASbaOaYyb16sDj23rFp4nDjmok/view?usp=sharing
| Wire to Board Connectors | JST-XHP2/3/4/5 | 0 | 0 | 1 | 1 |  | Left benchtop, half consumed |  | https://drive.google.com/file/d/1fFR1pqbwzWQEtOkHk2DYPIdOs1E4BlLm/view?usp=sharing